## Slide 1: Technical Approach – U.S. EPA
Emission sampling and wind velocity measurement
A 14’ diameter tethered aerostat was used to loft a battery operated instrument package.
  Real time PM by size
  Semivolatiles
  CO2
  3D sonic anemometer

## Slide 2: RESULTS. Continuous PM and CO2
Eglin 2/8/2011
2-min running average

## Slide 3: Continuous PM
Eglin 2/6/2011
2-min running average
Continuous PM sampler

## Slide 4: Continuous PM
Eglin 2/8/2011
2-min average

## Slide 5: Continuous PM
Eglin 2/12/2011
2-min average

## Slide 6: Continuous PM2.5 and CO2
Eglin 2/6/2011
2-min average

## Slide 7: Continuous PM2.5 and CO2
Eglin 2/8/2011
2-min average

## Slide 8: Continuous PM2.5 and CO2
Eglin 2/12/2011
2-min average

## Slide 9: Results
0.013 g/g Carbon ±13% (RPD)
Background corrected
PM by weight/filter
Carbon from CO2
RPD = Relative Percent Difference (two samples)
PM 2.5 impactor sampler
PM2.5 Emission factor
Other Results Anticipated:
3D wind velocity over time and altitude
Semi-volatile emission factors
Notes: Background PM2.5 from 2/10/11 when no burns were conducted

## Slide 10: Status of Funds for Federal Performers (EPA)
Report on the status of funds for each MIPR received by a directly funded Federal performer. Provide information on each fiscal year for which there has not been 100% expenditure of funds.
FY200X Funds |  |  | 
Directly Funded Federal Performer(s) | Funds Received | Funds Obligated* | Percent Funding Obligated
U.S. Navy (ISSI, Inc. Task Order for U.S. EPA) - Direct Cite MIPR | 34.9K | 34.9K | 100%
U.S. EPA - Reimbursable MIPR | 15.1K | 11.8K | 78%
Federal Performer B - Direct Cite MIPR | 100K | 100K | 100%
Federal Performer B - Reimbursable MIPR | 100K | 50K | 50%
* Funds put on contracts and/or purchase orders that have been issued and funds associated with internal labor or travel expenses that have been incurred.